# UNIVERSITY OF MALAKAND

# OFFICE OF THE DIRECTOR FINANCE

Bidding Document

For SUPPLY/PURCHASE OF Laboratory Equipment’s

and Chemical/Glassware i.e.

- Department of Chemistry

- Department of Bio-Chemistry

- Department of Zoology

- Department of Bio-Technology

- Department of Botany

- Department of Pharmacy

Note: A separate bid documents will be submitted for each Department and Category

- Department of Chemistry

Items: 	Laboratory equipmentS

| Sr. No |  | Equipment Specification | Make | Qty. | Total Price |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 01 |  | Magnetic Stirrer Analog (with Heating) Specification: - Electronic speed control for constant speed even during changes in load - Low heat temperature stability - Ceramic steel plate for anti-corrosion and excellent thermal conductivity - Long life brushless motor - High magnetic adhesion - cTUVus approved - CE Marked Hotplate/Stirrer; :; MS-H-S. Temp range; :; Ambient - 340°C. Speed range; :; 0-1500rpm. Heating rate (1-liter water); :; 6K/min. Motor type; :; Brushless. Stirring capacity; :; 20L. Plate diameter; :; 5.3". Plate material; :; Ceramic coated steel. Dimensions; :; 11"L x 61/4"W x 3"H. Weight; :; 6lbs. | SCILOGEX USA/Equivalent | 03 |  |  |  |
| 02 |  | Distillation apparatus (Steel) | steel / Equivalent | 02 |  |  |  |
| 03 |  | Analytical Balances Specification: - Capacity x Readability-- 60 x 0.0001 g - Repeatability (standard deviation) . 0.1 mg - Linearity deviation…0.2 mg - Typical stabilization time.. 2.5 s - Weighing pan size…90 mm - Weighing chamber height…173 + 176 + 240 mm - Net weight, approx.….4.4 kg - Calibration…. External - Dimensions, D x W x H. 230 x 303 x 330 mm 9.1 x 11.9 x 13 Inch - Leveling…Glass level indicator with air bubble for centering - Display…. White backlit, high-contrast display with 15 mm digits - Power supply. only via Sartorius AC adaptor module 6971790 Input voltage…12.0 ... 18.0 V DC | Sartorius Germany/ Equivalent | 01 |  |  |
| 04 |  | ## Bench Top PH Meter Specification: Description: Easy and intuitive to use the HI-2211- comes complete with a number of useful features which make them particularly popular for frequent testing. Not only that is excellent value for laboratory use across wide range of applications Key features - Extra wide LCD displays pH & temperature - Standard pH range: -2 to 16pH with 0.01 resolution - Wide temperature range: -9.9°C to 120°C - On-screen step by step calibration guide - Calibration expiration reminder helps users make sure the meter is in optimum working order each and every time. - pH calibration with stability indicator makes process error free - Sturdy wide-based casing with easy to use buttons for quick efficient testing - Automatic temperature compensation - Measurement memory / memory recall function | HANNA USA/ Equivalent | 02 |  |  |
| 05 |  | Conductometer Specification: - HI99301 meters are equipped with a multifunction probe that can be used to measure conductivity, TDS (total dissolved solids) and temperature. - Dual display, conductivity or TDS with temperature. - Meter indicates the battery charge level. - When battery power is low the BEPS function switches off the meter to ensure reliable readings. - Calibration to 1 single point. - Measurements are adjusted automatically in the event of temperature variation. - User selects EC / TDS conversion factor. - Product package contents: - The HI99300 and HI99301 are delivered in a transport case with a conductivity probe HI763063, solution calibration at 1413 μS/cm (20 mL), solution - calibration at 1382 mg/L (20 mL), solution of cleaning for electrodes (2 x 20 mL), a beaker 100 mL and batteries. | Hanna USA/ Equivalent | 02 |  |  |
| 06 | Organic Solvent Distillation assembly |  | Pyrex/ Equivalent | 01 |  |
| 07 | UV lamp with box UV Chromatography inspection cabinet useable for viewing and detecting separate substances on TLC Layers. Features - Compact Lightweight, Transportable, Economical cabinet. - Separate long UV (365 nm), Short UV (254 nm) & visible sources Long and short-wave UV sources All- metal epoxy powder fused housing for rugged dependability. - UV absorbing matt black finish inside gives high sensitivity. |  | China/ Equivalent | 03 |  |
| 08 |  | Quartz Cuvettes for UV | High quality | 05 |  |  |

Items: 	cHEMICALS

| Items | CAS NO | Cat No. | Packing | Qty | Unit Price | Total |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Potassium thiocyanate EP | 333-20-0 | 6624-4405 | 500 g | 1 |  |  |  |  |
| Murexide indicator grade | 3051-09-0 | 3074-4125 | 25 g | 1 |  |  |  |  |
| Whatman® qualitative filter paper circles, diam. 90 mm, |  | F1001-090 | 100 Pcs | 1 |  |  |  |  |
| Chloroform Analytical reagent grade | 67-66-3 | 2548-4461 | 2.5 L | 1 |  |  |  |  |
| Acetic acid (glacial) | 64-19-7 | 1002-4400 | 1 Kg | 2 |  |  |  |  |
| Acetonitrile | 75-05-8 | 1012-2304 | 4 L | 1 |  |  |  |  |
| Methanol Lab reagent grade | 67-56-1 | 5558-4404 | 15 L | 3 |  |  |  |  |
| DMSO Lab reagent grade | 67-68-5 | 3047-4461 | 5 L | 2 |  |  |  |  |
| Ammonia solution | 12125-02-9 | 1065-4104 | 10 L | 4 |  |  |  |  |
| Acetic Acid | 87-51-4 | 1005-4461 | 2.5 L | 2 |  |  |  |  |
| Mercury (II) chloride | 7487-94-7 |  |  |  |  |  |  |  |
| Chromium nitrate | 2150-95-4 | 219205000 | 500 g | 1 |  |  |  |  |
| Calcium Chloride anhydrous | 10043-52-4 | 2507-1400 | 2 Kg | 2 |  |  |  |  |
| Potassium Carbonate anhydrous | 584-08-7 | 6564-4405 | 500 g | 1 |  |  |  |  |
| H3PO4 | 7664-38-2 | 6532-4104 | 4 L | 1 |  |  |  |  |
| sodium hydroxide | 1310-73-2 | 7570-4400 | 1 Kg | 3 |  |  |  |  |
| Potassium iodate | 2139-71-8 | 6598-4405 | 500 g | 1 |  |  |  |  |
| Ammonium chloride | 12125-02-9 | 1060-4405 | 500 g | 1 |  |  |  |  |
| Ammonium carbonate | 506-87-6 | 1056-4400 | 1 Kg | 1 |  |  |  |  |
| Chromium(III) chloride | 10025-73-7 | 2554-4405 | 500 g | 1 |  |  |  |  |
| Cadmium(III) chloride | 10108-64-2 | NA | NA | NA |  |  |  |
| Aluminum chloride | 7446-70-0 | 1032-4400 | 1 Kg | 1 |  |  |  |  |
| Magnesium chloride | 7786-30-3 | 5504-4405 | 500 g | 1 |  |  |  |  |
| Barium chloride | 10361-37-2 | 2003-4400 | 1 Kg | 1 |  |  |  |  |
| sodium oxalate | 62-76-0 | 7603-4400 | 11300 | 1 |  |  |  |  |
| Bismuth(III) nitrate | 10361-44-1 |  |  |  |  |  |  |  |
| Nickel(II) acetate | 373-02-4 | 5605-4405 | 500 g | 1 |  |  |  |  |
| Nickel(II) bromide | 13462-88-9 |  | 10 g |  |  |  |  |  |
| Zinc(II) acetate | 557-34-6 | 8596-4405 | 500 g | 1 |  |  |  |  |
| Iron(II) chloride | 7758-94-3 | 5016-4405 | 500 g | 1 |  |  |  |  |
| Iron(III) acetate | 1834-30-6 |  |  |  |  |  |  |  |
| Manganese(II) acetate | 638-38-0 | 5524-4405 | 500 g | 1 |  |  |  |  |
| Sodium sulphate | 7757-82-6 | 7630-4405 | 500gm | 1 |  |  |  |  |
| Sodium bicarbonate | 144-55-8 | 7566-4400 | 1Kg | 1 |  |  |  |  |
| Potassium dichromate | 7778-50-9 |  |  |  |  |  |  |  |
| Barium nitrate | 10022-31-8 | 2006-1405 | 500 g | 1 |  |  |  |  |
| Potassium iodide | 7681-11-0 | 6599-4405 | 500 g | 1 |  |  |  |  |
| Ammonium acetate | 631-61-8 | 1052-4405 | 500 g | 1 |  |  |  |  |
| Anthranilic acid | 118-92-3 | NA | NA | NA |  |  |  |  |
| Ferric chloride | 7705-08-0 | 5021-4400 | 1 Kg | 1 |  |  |  |  |
| Phenyl Benzoate | 93-99-2 | NA | NA | NA |  |  |  |  |
| Benzoic acid | 65-85-0 | 2018-4405 | 500 g | 1 |  |  |  |  |
| Salicylic acid | 69-72-7 | 7503-4400 | 1Kg | 1 |  |  |  |  |
| Acetone (commercial grade) | 67-64-1 | NA | NA | NA |  |  |  |  |
| Benzene | 71-43-2 | NA | 500 mL | NA |  |  |  |  |
| Concentrated Nitric acid (0.1 N) | 7697-37-2 | 5621-3700 | 5 L | 6 |  |  |  |  |
| Sodium acetate (anhyd.) | 127-09-3 | 7527-4400 | 1 Kg | 1 |  |  |  |  |
| Potassium hydroxide | 1310-58-3 | 6584-4400 | 3Kg | 3 |  |  |  |  |
| Bromine | 7726-95-6 |  |  |  |  |  |  |  |
| Aluminium chloride (anhydr.) | 7446-70-0 | 1033-1405 | 500 g | 1 |  |  |  |  |
| Copper oxide | 1317-38-0 | 2587-1405 | 500 g | 1 |  |  |  |  |
| Calcium hydroxide | 1305-62-0 |  | 500 g |  |  |  |  |  |
| Ferrous sulphate | 7782-63-0 | 5017-4400 | 1 Kg | 1 |  |  |  |  |
| Sodium Nitroprusside | 13755-38-9 | 7602-4125 | 25 g | 1 |  |  |  |  |
| Sodium carbonate Anhydrous | 497-19-8 | 7541-4400 | 1 Kg | 1 |  |  |  |  |
| Fehling’s solution A | 7758-98-7 | 4037-1405 | 500 mL | 1 |  |  |  |  |
| Fehling’s solution B | 6381-59-5 | 4038-1405 | 500 mL | 1 |  |  |  |  |
| Formic acid | 64-18-6 |  | 2.5 L |  |  |  |  |  |
| Zinc chloride | 7646-85-7 |  | 500 g |  |  |  |  |  |
| Dichroloromethane/Chloroform (commercial grad) | 75-09-2 |  | 100 L |  |  |  |  |  |
| Tetrahydrofuran | 109-99-9 |  | 10 L |  |  |  |  |  |
| Methanol | 67-56-1 |  | 200 L |  |  |  |  |  |
| Ammonium chloride (99.5%) | 12125-02-9 | 1060-4405 | 500 g | 1 |  |  |  |  |
| barium chloride | 10326-27-9 | 2003-4400 | 1 Kg | 1 |  |  |  |  |
| Eriochrome black T | 1787-61-7 | 4014-4125 | 25 g | 4 |  |  |  |  |
| Ethylene diammine tetra acetate | 6381-92-6 | 4000-4400 | 1 Kg | 1 |  |  |  |  |
| Mureoxide | 3051-09-0 | 3074-4125 | 25 g | 1 |  |  |  |  |
| sodium acetate | 127-09-3 | 7527-4400 | 1 Kg | 1 |  |  |  |  |
| Potasium chromate (K2CrO4) | 7789-00-6 |  |  |  |  |  |  |  |
| Ethanol | 64-17-5 |  |  |  |  |  |  |  |
| Methyl orange | 547-58-0 | 5563-4125 | 25 g | 1 |  |  |  |  |
| Oxalic Acid | 144-62-7 | 5640-4400 | 1Kg | 1 |  |  |  |  |
| Phenaptalline indicator | 77-09-8 | 6524-4425 | 25 g | 1 |  |  |  |  |
| Nickle (II) Chloride Hexahydrate | 7791-20-0 | 5607-4400 | 1Kg | 1 |  |  |  |  |
| Potassium hydrogen phthalate | 877-24-7 | 6581-4405 | 500 g | 1 |  |  |  |  |
| Copper salts | 11006-34-1 |  |  |  |  |  |  |  |
| Praseodymium(III) nitrate hexahydrate | 15878-77-0 |  |  |  |  |  |  |  |
| Poly(vinyl alcohol) | 9002-89-5 |  |  |  |  |  |  |  |
| Mercury (II) chloride | 7487-94-7 |  |  |  |  |  |  |  |
| n-Hexane (commercial) | 110-54-3 |  |  |  |  |  |  |  |
| Ethyl acetate (commercial) | 141786 |  |  |  |  |  |  |  |

- Department of Bio-Chemistry

Items: 	Laboratory equipmentS

| List of Laboratory Equipment’s & Accessories |  |  |  |
| --- | --- | --- | --- |
| No | Item | Quantity | Price |
| 1 | Aluminum dissecting pan | 3 |  |
| 2 | Aluminum foils | 10 packs |  |
| 3 | Benson Burner | 6 |  |
| 4 | Blood pressure monitor (analog) | 1 |  |
| 5 | Blue Tips (1 mL) | 25 packs |  |
| 6 | Bunsen Burner | 5 |  |
| 10 | Corks (different sizes) | 10 sets |  |
| 11 | Cotton | 10 packs |  |
| 12 | Crucible | 5 |  |
| 13 | Desiccators | 2 |  |
| 14 | Dissection tool kit | 2 |  |
| 15 | Electric hotplates | 2 |  |
| 16 | Eppendorp tubes ( 1.5 mL) | 3 |  |
| 19 | Filter paper (sheets) | 3 packets |  |
| 20 | First aid kit | 4 |  |
| 21 | Forceps | 10 |  |
| 22 | Glass plates | 100 |  |
| 23 | Gloves (different sizes) | 10 packets |  |
| 24 | Googles | 20 |  |
| 25 | Incubator | 2 |  |
| 26 | Lab thermometer | 5 |  |
| 27 | Magnetic stir bars (different sizes) | 5 each size |  |
| 28 | Parafilm | 5 |  |
| 30 | pH meter | 1 |  |
| 31 | Pistil and mortar different sizes | 5 set each |  |
| 32 | Rubber stoppers (different sizes) | 10 sets |  |
| 35 | Spatula (different sizes) | 6 sets |  |
| 37 | Spatula sets | 7 sets |  |
| 38 | Spirit lamps | 10 |  |
| 40 | Spirit lamps | 10 |  |
| 41 | Stainless Steel Double-Ended Spatula | 20 |  |
| 42 | Stand clamps | 20 |  |
| 43 | Stands steel (titration) | 20 |  |
| 44 | Stirrers | 10 |  |
| 45 | Stirring Rod | 50 |  |
| 46 | Stop watches | 6 |  |
| 47 | Surgical blades disposable (medium) | 20 packs |  |
| 48 | Syringes (5, 10, 20 ml) | 5 set each |  |
| 49 | Test tube brushes | 20 |  |
| 50 | Test tube holders | 20 |  |
| 51 | Test tubes different sizes | 100 each |  |
| 52 | Test tubes racks | 50 |  |
| 53 | Tongs | 20 |  |
| 54 | Universal indicator paper | 10 |  |
| 55 | Urinometer | 2 |  |
| 56 | Utility Clamp | 20 |  |
| 57 | Utility Clamps (for stands) | 20 |  |
| 58 | UV lamp with cabinet | 1 |  |
| 59 | Viscometer | 5 |  |
| 60 | Wash bottles | 50 |  |
| 61 | White Tips (10-20 uL) | 25 packs |  |

Items: 	cHEMICALS

| No | Items | Quantity | CAS # | Price |
| --- | --- | --- | --- | --- |
| 1 | ABO Antigen | 2 kits | NA |  |
| 2 | Albumin | 250 g | 9006-59-1 |  |
| 3 | Alpha-napthol | 100 mL | 90-15-3 |  |
| 4 | Aluminum trichloride | 500 g | 7446-70-0 |  |
| 5 | Antibiotic discs | 500 g | NA |  |
| 6 | Barium chloride dihydrate | 100 g | 10326-27-9 |  |
| 7 | Barium hydroxide | 1 kg | 17194-00-2 |  |
| 8 | Benedict’s (qualitative) reagent | 1 L | 63126-89-6 |  |
| 9 | Bromine | 100 g | 7726-95-6 |  |
| 10 | Calcium carbonate | 500 g | 471-34-1 |  |
| 11 | Cobalt nitrate hexahydrate | 500 g | 10026-22-9 |  |
| 12 | Copper(II) sulfate | 500 g | 7758-98-7 |  |
| 13 | Cupric acetate monohydrate | 100 g | 6046-93-1 |  |
| 14 | Di potassium hydrogen phosphate | 500 g | 04/11/7758 |  |
| 15 | Ethanol (Analytical) | 10 L | 64-17-5 |  |
| 16 | Farmaldehyde | 5 L | 50-00-0 |  |
| 17 | Ferric chloride | 500 g | 7705-08-0 |  |
| 18 | Ferrous chloride | 250 g | 7758-94-3 |  |
| 19 | Formic acid | 1 L | 64-18-6 |  |
| 20 | D-Fructose | 500 g | 57-48-7 |  |
| 21 | Hydrochloric acid | 10 L | 7647-01-0 |  |
| 22 | Hydrogen peroxide | 500 mL | 7722-84-1 |  |
| 23 | Iodine powder | 100 g | 7553-56-2 |  |
| 24 | Lactic Acid | 500 g | 50-21-5 |  |
| 25 | Lead acetate | 500 g | 6080-56-4 |  |
| 26 | Magnesium chloride | 500 g | 7791-18-6 |  |
| 27 | Methyl red | 25 g | 63451-28-5 |  |

| 28 | Crystal violet | 50 g | 548-62-9 |  |
| --- | --- | --- | --- | --- |
| 29 | Molish reagent | 250 mL | 15086-94-9 |  |
| 30 | n-Hexane | 5 liter | 110-54-3 |  |
| 31 | N-(1-naphthyl) ethylenediamine dihydrochloride | 5 g | 1465-25-4 |  |
| 32 | n-Butanol | 5 L | 71-36-3 |  |
| 33 | Nutrient agar | 100 g | NA |  |
| 34 | Nutrient agar media | 500 g | NA |  |
| 35 | Nutrient broth media | 500 g | NA |  |
| 36 | Oxalic acid | 500 g | 144-62-7 |  |
| 37 | Petroleum ether | 5 liter | 8032-32-4 |  |
| 38 | Phenolphathalin | 500 g | 77-09-8 |  |
| 39 | Phenylhydrazine | 100 g | 59-88-1 |  |
| 40 | Phosphomolybdic acid | 25 g | 51429-74-4 |  |
| 41 | Phosphoric acid | 10 L | 7664-38-2 |  |
| 42 | Phosphotungstic acid | 25 g | 12501-23-4 |  |
| 43 | Picric acid | 100 g | 88-89-1 |  |
| 44 | Potasium bicarbonate | 500 g | 298-14-6 |  |
| 45 | Potasium Dichromate | 500 g | 7778-50-9 |  |
| 46 | Potasium iodide | 500 g | 7681-11-0 |  |
| 47 | Potassium Bisulphate | 50 g | 7646-93-7 |  |
| 48 | Potassium ferricyanide (III) | 50 g | 13746-66-2 |  |
| 49 | Potassium ferrocyanide | 250 g | 14459-95-1 |  |
| 50 | Potassium hydroxide | 500 g | 1310-58-3 |  |
| 51 | Potassium oxalate monohydrate | 250 g | 6487-48-5 |  |
| 52 | Potassium permanganate | 250 g | 7722-64-7 |  |
| 53 | Potassium persulfate | 500 g | 7727-21-1 |  |
| 54 | Pyradine | 2 L | 110-86-1 |  |
| 55 | Resorcinol | 50 g | 108-46-3 |  |
| 56 | Silver Nitrate | 25 g | 7761-88-8 |  |
| 57 | Sodium acetate | 500 g | 127-09-3 |  |

| 58 | Sodium citrate | 500 g | 03/04/6132 |  |
| --- | --- | --- | --- | --- |
| 59 | Sodium hexametaphosphate (Graham salt) | 500 g | 68915-31-1 |  |
| 60 | Sodium nitroprusside dihydrate | 25 g | 13755-38-9 |  |
| 61 | Sodium potassium tartrate tetrahydrate | 500 g | 6381-59-5 |  |
| 62 | Sodium Thiosolphate | 500 g | 7772-98-7 |  |
| 63 | Sorbitol | 250 g | 50-70-4 |  |
| 64 | Sulfuric acid | 5 L | 7664-93-9 |  |
| 65 | Trichloroacetic acid | 100 g | 76-03-9 |  |
| 66 | Zinc oxide | 250 g | 1314-13-2 |  |

Items: 	GLASSWARE

| No | Item | Description | Quantity | Price |
| --- | --- | --- | --- | --- |
| 1 | Beakers | (100, 250, 500 ml) | 10 each |  |
| 2 | Beakers | 100 ml glass tempered Pyrex | 10 |  |
| 3 | Beakers | 250 ml glass tempered | 10 |  |
| 4 | Beakers | 1000 ml | 10 |  |
| 5 | Beakers | 500 ml | 10 |  |
| 6 | Burets | different sizes | 10 each |  |
| 7 | Capillary glass | 100 cm long easy bending through heat | 100 |  |
| 8 | Conical flask | 250 ml | 10 |  |
| 9 | Conical flask | 500 ml | 5 |  |
| 10 | Conical flask | 1000 ml | 10 |  |
| 11 | Conical flask | 100 ml | 50 |  |
| 12 | Evaporating Dish |  | 20 |  |
| 13 | Falcon tubes (15 mL) |  | 10 packs |  |
| 14 | Glass pipettes | 5-20 ml with all accessories | 20 |  |
| 15 | Glass plates |  | 50 |  |
| 16 | Microscope glass slides | Box of 1000 slides | 25 |  |
| 17 | Microscope slide covers | Box of 1000 slides covers | 50 |  |
| 18 | Microscopic cell slides | Prokaryotes, eukaroytes, cell division |  |  |
| 19 | Ostwald Viscometer |  | 10 |  |
| 20 | Petri dishes |  | 10 |  |
| 21 | Petri dishes (Glass) |  | 100 |  |
| 22 | Petri dishes with covers | Highly tempered glass, resistance standard Pyrex or equivalent | 25 |  |
| 23 | Pipet Bulb |  | 20 |  |
| 24 | Pipette fillers |  | 10 |  |
| 25 | Pipettes glass |  | 100 |  |
| 26 | Plastic straws |  | 50 |  |
| 27 | Reagent bottles | 250, 500, 1 L | 10 each |  |
| 28 | Round bottom flask | 250 ml | 15 |  |
| 29 | Round bottom flask | 500 | 15 |  |
| 30 | Round bottom flask | 1000 ml | 5 |  |
| 31 | Separating funnels | 500, 1000 mL | 50 each |  |
| 35 | Thistle funnels | 150 ml | 20 |  |
| 36 | Titration flask | 500 ml | 20 |  |
| 37 | Titration tubes | With all accessories | 20 |  |
| 38 | Vacutainer tubes |  | 5 set each |  |
| 39 | Volumetric flasks (various volumes) |  | 20 each |  |
| 40 | Wash bottles |  | 10 |  |
| 41 | Water baths holders |  | 5 |  |
| 42 | Water glass bottles | 300 ml | 50 |  |

- Department of Zoology

Items: 	Laboratory equipmentS

| 1 | Vertex mixer | 1 | speed: 0 – 12000 rpm Vibration orbit 4.5 mm, operating mode: touch, continuous, Operated on 220 Volts |  |
| --- | --- | --- | --- | --- |
| 2 | Hot Plate | 1 | Maximum temperature range 550C, plate size 7” x 7”, weight 11lbs, voltage 110 Volts 60Hz, heat display LED, plate dimensions 14” L x 8.5” W x 4.5” H. |  |
| 3 | Gel Assembly (gel tank, power supply) | 1 | GEL ELECTROPHORESIS UNIT i. Mini Horizontal Gel Box Dimension:15 cm W x 22 cm L x 9.5 cm H, Voltage: 220 V, such that it has 5 volts per cm of electrode separation (5 V x 19 cm = 95 V). ii. ELECTROPHORESIS POWER SUPPLY Dimensions should be approximately 300 x 200 x 100, weighing about 3.0 kg, voltage from 10 - 300 V as minimum of 250 volts will be required for electrophoresis run |  |
| 4 | MICROSCOPE | 1 | with Touch Screen 8” Tablet – 3.14 Mega Pixels Camera, Product Code: OPB 290 TB |  |
| 5 | Digital Balance | 1 | with Wind Screen, 100g x, 0.005g – EQ-Bal-IB101-LD |  |
| 6 | Trinocular Stereo Zoom Microscope | 1 | WF10X Eyepieces, 3.5X-90X Magnification, 0.7X-4.5X Zoom Objective,56-Bulb LED Ring Light, 0.5X 2.0X Additional Objectives,Table Pillar Size: S7-TP520-EA10-56 |  |

Items: 	cHEMICALS

| SN | Items | Grade/Made | Case Number/Made | Packing | Rates |
| --- | --- | --- | --- | --- | --- |
| 1 | Ethanol Absolute 99.9% | Analytical Grade | CAS 64-17-5 | 2.5Ltr |  |
| 2 | MgCl2 | Analytical Grade | CAS 7786-30-3 | 1 Kg |  |
| 3 | NaCl | Analytical Grade | CAS 7647-14-5 | 1 Kg |  |
| 4 | Tris-HCl | Analytical Grade | CAS 1185-53-1 | 100 gm |  |
| 5 | Isoamyl alcohol | Analytical Grade | CAS 123-51-3 | 2.5Ltr |  |
| 6 | EDTA | Analytical Grade | CAS 6381-92-6 | 1 Kg |  |
| 7 | Triton X-100 | Analytical Grade | CAS 9002-93-1 | 1Ltr |  |
| 8 | Ethidium Bromide | Analytical Grade | CAS 1234-45-8 | 15g |  |
| 9 | Sucrose | Analytical Grade | CAS 57-50-1 | 1 Kg |  |
| 10 | Agarose A | Analytical Grade | Sigma product number P8169 | 500 gm |  |
| 11 | Proteinase K | Analytical Grade | Catalog Number. AM2544 | 100mg |  |
| 12 | Sodium acetate | Analytical Grade | CAS No.: 127-09-3 | 1 KG |  |
| 13 | DNA gel loading dye (6x) | ThermoFisher | Catalog number: R0611 | 2.5 ml |  |

Items: 	GLASSWARE

| S/No | Item | Specification | Made | Qty | Unit P | Total |
| --- | --- | --- | --- | --- | --- | --- |
| 2 | Reagent bottle | 250 ml W/M | China | 10 |  |  |
| 3 | Reagent bottle | 250ml N/M | China | 12 |  |  |
| 5 | Flasks | 100 ml | China | 5 |  |  |
| 6 | Flask | 1000 ml | China | 4 |  |  |
| 7 | Flask | 500 ml | China | 4 |  |  |
| 8 | Flask | 250ml | China | 5 |  |  |
| 10 | Cylinder | 500ml | China | 5 |  |  |

- Department of Bio-Technology

Items: 	Laboratory equipmentS

| SN | Name of Equipment | Specification | Quantity | Rate |
| --- | --- | --- | --- | --- |
| 1 | UV-Vis Spectrophotometer | - Photometric system: Double Beam - Wavelength range: 190-1100nm - Wavelength setting: Automatics - Light source: Tungsten Halogen - Spectral bandwidth: UV-Vis 0.01- 5nm - Power: AC 220V, 50-60Hz - Data output: RS232/USB/printer port - Accessories: Lamp, Cuvette holder, 7 sets glass cuvettes, 7 sets Quartz Cuvettes, PC laptop LATEST along with software | 01 |  |

- Department of Botany

Items: 	cHEMICALS

| Names | Case/No | Quantity | Unit Price | Total Price |
| --- | --- | --- | --- | --- |
| 2x Master mix (PCR) |  | 3 kits |  |  |
| Comissive brillent blue | 3844-45-9 | 25 gm |  |  |
| Ammonium Per Sulphate (APS) | 7783-20-2 | 500 mg |  |  |
| Tetramethylethylenediamine (TEMED) | 110-18-9 | 200 ML |  |  |
| Sodium dodecyl sulphate (sigma) | 151-21-3 | 2 kg |  |  |
| Acrylamide | 79-06-1 | 2 kg |  |  |
| Bisacrylamide | 868-63-3 | 1 kg |  |  |
| Tris HCL | 185-53-1 | 2 kg |  |  |
| Tris Base (sigma) | 77-86-1 | 2 kg |  |  |
| Sodium Acetate | 127-09-3 | 500 gm |  |  |
| Methanol | 67-56-1 | 10 L |  |  |
| Ethanol | 64-17-5 | 10 L |  |  |
| Glycine | 56-40-6 | 1 kg |  |  |
| Acetic acid | 64-19-7 | 5 L |  |  |
| Cetyltrimethyl ammonium bromide (CTAB) | 57-09-0 | 1 kg |  |  |
| Agarose | 9012-36-6 | 1 kg |  |  |
| Taq-Polymerase | 9012-90-2 | 5 kits |  |  |
| Protein ladder |  | 3 kits |  |  |
| DNA ladder |  | 3 kits |  |  |
| Mortar and pistil |  | 2 set |  |  |
| Micropipettes |  | 02 set |  |  |
| Stirrers Hot plate |  | 1 |  |  |
| SDS Assembly Horizontal/Vertical |  | 1 each |  |  |
| Eppendorf Tubes 1.5 ml |  | 20 Packs (1000 each) |  |  |
| Yellow, blue and white tips |  | 10 pack each |  |  |

- Department of Pharmacy

Items: 	cHEMICALS

| S. No | Chemical Name | Quantity | Cas Number | Price |
| --- | --- | --- | --- | --- |
| 1 | Acetone | 2.5 L | 67-64-1 |  |
| 2 | Acetylcholine chloride | 100 gm | 60-31-1 |  |
| 3 | Aluminim Chloride | 0.5kg | 7446-70-0 |  |
| 4 | Ammonium chloride | 0.5 kg | 12125-02-9 |  |
| 5 | Ammonium hydroxide | 2.5 L pack | 1336-21-6 |  |
| 6 | Ammonium molybdate | 1 kg | 12054-85-2 |  |
| 7 | Anticoagulant(Heparin) | 1 | 9041-08-1. |  |
| 8 | Antisera (blood group) | 3 | 26628-22-8 |  |
| 9 | Bees Wax | 2 Kg | 8012-89-3 |  |
| 10 | Bromophenol blue |  | 115-39-9 |  |
| 11 | Calamine | 500 g | 8011-96-9 |  |
| 12 | Calcium oxide | 0.5 kg | 1305-78-8 |  |
| 13 | Camel hair brush for staining/histology | 80 |  |  |
| 14 | Carnauba Wax | 1 Kg | 8015-86-9 |  |
| 15 | Castor oil | 1 Liter | 8001-79-4 |  |
| 16 | Ceric sulphate | 250 gm | 13590-82-4 |  |
| 17 | Cetyl alcohol | 1 kg | 36653-82-4 |  |
| 18 | Cetyl ester wax | 250 gm | 17661-50-6 |  |
| 19 | CetylPalmitate | 1 Kg | 540-10-3 |  |
| 20 | Chloroform | 5 L | 67-66-3 |  |
| 21 | Cinnamon oil | 0.5 liter | 8007-80-5 |  |
| 22 | Clove oil | 0.5 L | 8000-34-8 |  |
| 23 | Dill oil | 500 ml | 8006-75-5 |  |
| 24 | DMSO | 2.5 L | 67-68-5 |  |
| 25 | Emulsifying Wax | 1 Kg | 8014-38-8 |  |
| 26 | Ethanol | 5 L | 64-17-5, |  |
| 27 | Ferric chloride | 2 kg | 7705-08-0 |  |
| 28 | Ferrous Sulphate | 2 Kg | 7782-63-0 |  |
| 29 | Formaldehyde | 2.5x2 | 50-00-0 |  |
| 30 | Gelatine powder | 2.0 kg | 9000-70-8 |  |
| 31 | Glucose kit | 5 | 14431-43-7 |  |
| 32 | Gum Arabic | 500 gm | 05/01/9000 |  |
| 33 | HCL | 2.5×2 | 7647-01-0 |  |
| 34 | Histamine | 10 gram | 51-45-6 |  |
| 35 | HPMC | 1.5 Kg | 9004-65-3 |  |
| 36 | Hydrous wool fat | 1.0kg | 8006-54-0 |  |
| 37 | Iodine | 500 gm | 7553-56-2 |  |
| 38 | Isoproterenol | 5gm | 51-31-0 |  |
| 39 | Kaolin | 5.0 kg | 1332-58-7 |  |
| 40 | Lauroyl chloride | 50ml | 112-16-3 |  |
| 41 | Lemon Oil | 1 bottle | 8008-56-8 |  |
| 42 | Linoleic acid | 1.0 kg | commercial grade |  |
| 43 | Liquid paraffin | 500 g | commercial grade |  |
| 44 | Magnesium chloride | 1 kg | 7786-30-3 |  |
| 45 | Malachite green dye | 10 g | 2437-29-8 |  |
| 46 | Mercuric chloride | 1.0kg | 7487-94-7 |  |
| 47 | Methanol | 40.0L | commercial grade |  |
| 48 | Methanol | 2.5 Liters | 67-56-1 |  |
| 49 | Methylparaben | 500 g | 99-76-3 |  |
| 50 | Minarl Oil | 1 Lt | commercial grade |  |
| 51 | Molich Reagent | 1 bottle | 90-15-3 64-17-5 |  |
| 52 | Ninhydrin | 2 bottle | 485-47-2 |  |
| 53 | Nitric acid | 5.0 L | 7697-37-2 |  |
| 54 | Paraffin oil | 500ml | 8012-95-1) |  |
| 55 | Peppermint oil | 500 ml | 8006-90-4 |  |
| 56 | Pepsin | 50 gm | 9001-75-6 |  |
| 57 | Poly Vinyl Pyrolidone | 2 Kg | 9003-39-8 |  |
| 58 | Povidone | 1.0kg | 25655-41-8 |  |
| 59 | Resorcinol | 1.0kg | 108-46-3 |  |
| 60 | Saffranine | 25g | 477-73-6 |  |
| 61 | Sodium bicarbonate | 2 kg | 144-55-8 |  |
| 62 | Sodium chloride | 2kg | 7647-14-5 |  |
| 63 | Sodium hydroxide | 2kg pack | 1310-73-2 |  |
| 64 | Sodium phosphate | 500 g | 7601-54-9 |  |
| 65 | Sodium sulphate | 2 kg | 7757-82-6 |  |
| 66 | Steralized blood lancet | 3 packs |  |  |
| 67 | Sulphuric acid | 2.5L | 7664-93-9 |  |
| 68 | Talc powder | 2 Kg | 14807-96-6 |  |
| 69 | Thymol | 2.5 | 89-83-8 |  |
| 70 | Tween 80 | 100 mL | 9005-65-6 |  |
| 71 | WBC solution | 01 bottle |  |  |
| 72 | White soft paraffin | 500 g | 8002-74-2 |  |
| 73 | Wool fat | 500 g | 57-88-5 |  |
| 74 | Zinc Strearate | 1 Kg | 557-05-1 |  |
| Total Amount Rs. |  |  |  |  |

Items: 	GLASSWARE

| SN | Glassware | Quantity | Price |
| --- | --- | --- | --- |
| 1 | TLC jars variable size | 10 pcs |  |
| 2 | Beaker 25 ml | 100 |  |
| 3 | Beaker 50 ml | 100 |  |
| 4 | Beaker 100 ml | 100 |  |
| 5 | Beaker 250 ml | 50 |  |
| 6 | Beaker 500 ml | 25 |  |
| 7 | Beakers 2L | 14 |  |
| 8 | Beaker 1000ml | 20 |  |
| 9 | Burettes Different size | 20 |  |
| 10 | Filter paper | 30 packs |  |
| 11 | Stands with climps | 50 |  |
| 12 | PH meter |  |  |
| 13 | Pipette (Glass) | 1ml |  |
|  |  | 2ml |  |
|  |  | 5ml |  |
|  |  | 10ml |  |
|  |  | 20ml |  |
| 14 | Specimen Jars | Small |  |
|  |  | Medium |  |
|  |  | Large |  |
| 15 | Stirrer bar/magnetic bar | Small 30 each |  |
|  |  | Medium 30 each |  |
|  |  | Large 30 each |  |
| 16 | Test tubes | Small 40 |  |
|  |  | Medium 40 |  |
|  |  | Large 40 |  |
| 17 | Test tubes STAND | Small |  |
|  |  | Medium |  |
|  |  | Large |  |
| 18 | Separating funnel | 1L 10 each |  |
|  |  | 2L 10 each |  |
|  |  | 5L 10 each |  |
| 19 | Pipete filler | Rubber balloon type 3 valves (50 pieces) |  |
| 20 | Micropipetter | 0.2-2ul (5 each) |  |
|  |  | 0.5-10ul (5 each) |  |
|  |  | 5-50ul (5 each) |  |
|  |  | 10-100ul (5 each) |  |
|  |  | 100-1000ul (5 each) |  |
| 21 | Herbarium/Voucher Charts | 200 sheets |  |
| 22 | Silica for column | 1 kg pack |  |
| 23 | TLC sheets | 25 sheets pack |  |
| 24 | UV light 254/365 nm | 3 |  |
| 25 | Cotton swab | 10 |  |
| 26 | Drip Stand | 2 |  |
| 27 | Dropper | 01 bottel |  |
| 28 | blotting paper sheet | 100 |  |
| 29 | Filter paper sheet | 04 box |  |
| 30 | Gloves and masks | 10+10 packs |  |
| 31 | Scale for height | 02 pack |  |
| 32 | Slides | 02 boxes |  |
| 33 | Test tubes and stands | 12+12 |  |
| 34 | Tips for Micropipetts 100-1000µl | 1pack |  |
| 35 | Tips for Micropipetts 1-5ml | 1pack |  |
| 36 | Tips for Micropipetts 10-100µl | 1pack |  |
| 37 | Sphagmomanometer | 10 |  |
| 38 | RBC count pipette | 6 |  |
| 39 | Slides with Cover Slips | 500 |  |
| 40 | Sticking tape | 50 pack |  |
| 41 | Surgical blades | 01 packes |  |
| 42 | Syringes,Needles and Gloves | 1 box each |  |
| 43 | TLC Plates | Full packet |  |
|  |  | 7631-86-9 |  |
| 44 | Watch glass | 40 |  |
| 45 | ECG Gel | 01 bottle |  |
| 46 | Conical flask 29/34 neck | 100 ml |  |
|  |  | 250 ml |  |
|  |  | 500 ml |  |
|  |  | 1L |  |
| 47 | Capillary tubes | packet |  |
| 48 | Petridishes | Small +Medium+ Large [06 each for labs] |  |