DEPARTMENT OF CHEMISTRY

UNIVERSITY OF MALAKAND

Khyber Pakhtunkhwa, Pakistan

Tender for the project: NRPU 20-14499

| S. NO | Name of Equipment | Qty | Specification |
| --- | --- | --- | --- |
| 1 | LC-10AD VP HPLC Pump | 01 | - Pump type---Dual Reciprocating Piston; Micro-volume - Flow range 0.001-5.000 mL/min (10-400 Kgf/cm2) 5.001-9.999 mL/min (10-200 Kgf/cm2) 0.001 mL/min step - Pressure Range 10-400 Kgf/cm2 (1 Kgf/cm2 step) - Pressure Accuracy + 10% or +10 Kgf/cm2,whichever is larger. - Program TimePump: 0.01-999.99 min. 10 files; 320 steps |
| 2 | Uv. Visible capillary window detector (multi-wavelength UV/VIS detector based upon a photo-diode array detection system) | 01 | - Variable multiwavelength detector - Wavelength range: 190 – 75 nm - Matrix display - Spectral bandwidth: 6 nm at Hα line (FWHM) - Noise: ± 7.5 µAU at 254 nm (ASTM E1657-98) - Drift: 200 µAU/h at 254 nm (ASTM E1657-98) - Temperature range: 4 – 40 °C; 39.2 – 104 °F, Humidity: below 90 % non-condensing - Wavelength UV-Visible HPLC Detector - complete with minimum cables required for laboratory operation. |
| 3 | Stainless Steel HPLC Columns | O2 | 100 mm long, 1 mm ID, 1/8 inch od stainless steel column |

﻿